## Slide 1: FFB data
Arindam Sen
Ohio University
https://logbooks.jlab.org/entry/4405437
https://logbooks.jlab.org/entry/4405345

## Slide 2
 | 18796 | 18797 | 18798 | 18799 | 18800 | 18801 | 18802 | 18803 | 18806 | 18808 | 18809 | 18810 | 18811 | 18812
bpm11X | -0.051 | 0.01 | -0.026 | -0.059 | -0.043 | -0.045 | -0.013 | -0.018 | -0.049 | -0.022 | -0.018 | -0.032 | 0.022 | -0.003
bpm12X | -0.033 | -0.094 | -0.136 | -0.135 | -0.124 | -0.151 | -0.158 | -0.179 | -0.172 | -0.158 | -0.188 | -0.078 | -0.262 | -0.099
bpm16X | -0.015 | -0.265 | -0.231 | -0.264 | -0.121 | -0.173 | -0.26 | -0.3 | -0.323 | -0.203 | -0.43 | -0.073 | -0.377 | -0.194
bpm1X | -0.034 | -0.028 | -0.017 | -0.032 | -0.038 | -0.008 | -0.007 | -0.008 | 0 | 0.006 | -0.014 | -0.018 | -0.022 | 0.001
bpm4aX | -0.024 | 0.003 | 0.061 | 0.033 | -0.026 | 0.063 | 0.054 | 0.033 | 0.12 | 0.031 | 0.135 | 0.018 | 0.072 | 0.034
bpm4eX | -0.028 | 0.045 | 0.069 | 0.053 | -0.037 | 0.052 | 0.077 | 0.077 | 0.129 | 0.05 | 0.169 | -0.004 | 0.056 | 0.038
 | 18796 | 18797 | 18798 | 18799 | 18800 | 18801 | 18802 | 18803 | 18806 | 18808 | 18809 | 18810 | 18811 | 18812
bpm11Y | 0.204 | -0.084 | 0.05 | -0.176 | -0.027 | 0.053 | -0.128 | -0.004 | -0.166 | 0.107 | -0.131 | 0.19 | 0.234 | 0.074
bpm12Y | 0.046 | -0.056 | 0.07 | -0.103 | -0.011 | 0.068 | -0.118 | -0.039 | -0.138 | 0.079 | -0.099 | 0.167 | 0.131 | 0.036
bpm16Y | -0.093 | 0.025 | 0.072 | -0.027 | -0.027 | 0.074 | -0.012 | 0.026 | -0.046 | 0.104 | -0.001 | 0.161 | 0.191 | 0.07
bpm1Y | -0.25 | 0.172 | -0.062 | 0.128 | -0.053 | -0.084 | 0.125 | -0.015 | -0.017 | -0.096 | 0.042 | -0.17 | -0.106 | -0.137
bpm4aY | -0.417 | 0.262 | -0.21 | 0.239 | -0.177 | -0.127 | 0.148 | -0.04 | -0.038 | -0.084 | 0.053 | -0.243 | 0.033 | -0.181
bpm4eY | -0.428 | 0.23 | -0.233 | 0.223 | -0.149 | -0.151 | 0.162 | -0.073 | -0.027 | -0.121 | 0.037 | -0.299 | -0.29 | -0.195
Diff Mean

## Slide 3
 | 18796 | 18797 | 18798 | 18799 | 18800 | 18801 | 18802 | 18803 | 18806 | 18808 | 18809 | 18810 | 18811 | 18812
bpm11X | 2.729 | 3.161 | 3.149 | 3.878 | 3.231 | 2.979 | 3.145 | 3.058 | 4.243 | 3.671 | 3.326 | 3.009 | 2.838 | 2.624
bpm12X | 5.906 | 5.875 | 5.595 | 5.644 | 5.489 | 5.438 | 5.677 | 5.453 | 7.923 | 6.25 | 8.098 | 8.463 | 7.715 | 8.35
bpm16X | 12.232 | 12.326 | 11.172 | 11.059 | 10.869 | 10.575 | 9.888 | 8.922 | 13.336 | 10.043 | 15.505 | 15.708 | 15.811 | 14.035
bpm1X | 1.513 | 1.501 | 1.367 | 1.342 | 1.300 | 1.177 | 1.137 | 1.149 | 1.172 | 1.095 | 1.370 | 1.325 | 1.500 | 1.089
bpm4aX | 3.829 | 3.765 | 3.589 | 3.582 | 3.449 | 3.468 | 3.247 | 3.397 | 4.474 | 3.469 | 4.577 | 4.647 | 4.668 | 4.293
bpm4eX | 4.466 | 4.441 | 4.099 | 4.078 | 3.892 | 3.884 | 3.567 | 3.697 | 5.161 | 3.844 | 5.805 | 5.887 | 5.956 | 5.274
 | 18796 | 18797 | 18798 | 18799 | 18800 | 18801 | 18802 | 18803 | 18806 | 18808 | 18809 | 18810 | 18811 | 18812
bpm11Y | 20.517 | 22.238 | 17.618 | 17.266 | 16.752 | 12.265 | 11.848 | 8.32 | 10.71 | 11.551 | 23.854 | 20.062 | 27.30 | 7.844
bpm12Y | 14.455 | 15.54 | 12.525 | 12.476 | 12.145 | 9.566 | 9.399 | 7.58 | 8.554 | 9.089 | 16.574 | 14.242 | 18.679 | 6.67
bpm16Y | 9.236 | 9.769 | 8.51 | 8.700 | 8.785 | 8.044 | 8.212 | 7.09 | 7.617 | 7.668 | 9.30 | 8.542 | 9.861 | 6.306
bpm1Y | 21.819 | 23.567 | 18.21 | 18.175 | 16.995 | 11.668 | 10.884 | 7.037 | 8.288 | 10.073 | 26.143 | 22.025 | 29.911 | 6.917
bpm4aY | 33.15 | 35.612 | 27.432 | 27.367 | 25.573 | 17.329 | 16.002 | 9.819 | 11.273 | 14.764 | 39.766 | 33.303 | 44.89 | 9.273
bpm4eY | 36.493 | 39.37 | 30.247 | 30.28 | 28.30 | 18.988 | 17.532 | 10.481 | 12.102 | 16.169 | 43.893 | 36.799 | 50.333 | 9.819
Diff Sigma

## Slide 4: FFB on/off
Comparing runs 18803 and 18812, both runs were FFB off, RMS is high for 18812 in X but RMS is low in Y. except bpm 1X, 11X.
Comparing runs 18797 and 18809 have same settings. But for run 18809, both X, Y RMS increased except bpm1X and 16Y.
Same settings

## Slide 5: DC offset
DC offset is increased in run 18811 (offset=0.1) from run 18810 (offset=0.005). RMS increased in both X&Y except bpm11X,12X
Comparing runs 18797 (offset=0.05) and 18810 (offset=0.005). decreasing DC offset lower RMS value except bpm4aX, 4eX, 12X, 16X
Comparing runs 18801 (offset=0.5) and 18802 (offset=0.01) decreasing DC offset reduces both X,Y RMS except bpm11X,12X,16Y

## Slide 6: 60Hz gain
Comparing runs 18797 (60Hz at 0.05) and 18798 (60Hz at 0.025), decreasing 60 Hz gain reduce both X & Y RMS significantly.

## Slide 7: 180 Hz
Reducing 180Hz gain, comparing runs 18799 (180 Hz at 0.01) and 18800 (180Hz at 0.005) reduces both X and Y RMS but effect is not very significant.